## RAB PAKET 1
|  |  | PROGRAM | Pemasaran
|  |  | NAMA PEKERJAAN | Penarikan SKTM, Pembangunan Gardu GP6 SDSA sehub PD 41.500 VA - 82.500 VA a.n SD Santa Angela |  |  |  | RAB RENCANA ANGGARAN BIAYA
|  |  | LOKASI | Jl. Merdeka No. 24 |  |  |  | KHS PAKET 1 UID JAWA BARAT
UID JAWA BARAT UP3 BANDUNG |  |  | ULP | ULP Bandung Utara |  |  |  | 166.RAB/REN/AI/2025
|  |  | GARDU | GD SDSA
NO | KODE | JENIS PEKERJAAN / MATERIAL |  |  | SATUAN | VOLUME |  | HARGA SATUAN | JUMLAH
[6 empty] | PLN | PEMBORONG |  | PLN | PEMBORONG
A | PAKET 1 AA | SR APP 3 PHASA | [8 empty] | 0
- | PAKET 1 A- | Penyambungan 3 Phasa Pengukuran Langsung | [8 empty] | 0
1 | PAKET 1 A1 | Penarikan SUTR TIC. s/d 35 mm2 (Route) |  |  | gaw |  | 0 | 141847 | 0 | 0 | 0
2 | PAKET 1 A2 | Pasang Box APP Pengukuran Langsung |  |  | bh |  | 0 | 67850 | 0 | 0 | 0
3 | PAKET 1 A3 | Pasang Meter KWH 3 fs |  |  | bh |  | 0 | 32544 | 0 | 0 | 0
4 | PAKET 1 A4 | Pasang MCB 3 fs |  |  | bh |  | 0 | 22781 | 0 | 0 | 0
5 | PAKET 1 A5 | Pasang Comp Connector AL 70/35 Lkp. isolasi scooth (u/Belalai) |  |  | bh |  | 0 | 12189 | 0 | 0 | 0
6 | PAKET 1 A6 | Pasang Comp Connector AL 35/35 for jamper & isolasi scooth |  |  | bh |  | 0 | 11768 | 0 | 0 | 0
7 | PAKET 1 A7 | Pasang Joint bimetal AL/CU 35/25 |  |  | bh |  | 0 | 14711 | 0 | 0 | 0
8 | PAKET 1 A8 | Pasang Segel Plastik |  |  | bh |  | 0 | 1863 | 0 | 0 | 0
- | PAKET 1 A- | Penyambungan 3 Phasa Pengukuran Tidak Langsung | [5 empty] | 0 |  |  | 0
9 | PAKET 1 A9 | Pasang Meter KWH 3 fs |  |  | bh |  | 0 | 32544 | 0 | 0 | 0
10 | PAKET 1 A10 | Penarikan SUTR TIC. s/d 70 mm2 (Route) |  |  | gaw |  | 0 | 171654 | 0 | 0 | 0
11 | PAKET 1 A11 | Pasang NYY 1x70 |  |  | mtr |  | 0 | 3379 | 0 | 0 | 0
12 | PAKET 1 A12 | Pasang box APP Terpadu (Lengkap CT, MCCB) |  |  | set |  | 0 | 258964 | 0 | 0 | 0
13 | PAKET 1 A13 | Fleksibel Conduit ( Untuk Pengeluaran Box APP ) |  |  | mtr |  | 0 | 1411 | 0 | 0 | 0
14 | PAKET 1 A14 | Pasang Comp. cable shoes CU 70 qmm |  |  | bh |  | 0 | 14711 | 0 | 0 | 0
15 | PAKET 1 A15 | Pasang Segel Plastik |  |  | bh |  | 0 | 1863 | 0 | 0 | 0
16 | PAKET 1 A16 | Pasang Pipa galvanis 3" x 1 M medium A (Material + jasa) |  |  | bh |  | 0 | 146909 | 0 | 0 | 0
17 | PAKET 1 A17 | Bongkar mcb 3 Phasa |  |  | set |  | 0 | 17086 | 0 | 0 | 0
18 | PAKET 1 A18 | Bongkar MCCB 3 Fasa + Box |  |  | set |  | 0 | 41494 | 0 | 0 | 0
19 | PAKET 1 A19 | Pasang MCCB 3 Fasa + Box |  |  | set |  | 0 | 55325 | 0 | 0 | 0
20 | PAKET 1 A20 | Pasang OK 3 phs |  |  | set |  | 0 | 14102 | 0 | 0 | 0
21 | PAKET 1 A21 | Bongkar OK 3 phs |  |  | set |  | 0 | 10577 | 0 | 0 | 0
22 | PAKET 1 A22 | Bongkar kwh 3 Phasa |  |  | set |  | 0 | 24408 | 0 | 0 | 0
23 | PAKET 1 A23 | Bongkar sr 3 Phasa |  |  | set |  | 0 | 64962 | 0 | 0 | 0
24 | PAKET 1 A24 | Bongkar mcb 1 Phasa |  |  | set |  | 0 | 13005 | 0 | 0 | 0
25 | PAKET 1 A25 | Bongkar kwh 1 Phas |  |  | set |  | 0 | 17882 | 0 | 0 | 0
26 | PAKET 1 A26 | Bongkar SR TIC 1 Fasa |  |  | set |  | 0 | 14862 | 0 | 0 | 0
27 | PAKET 1 A27 | Yanbung Mobile (FSO) |  |  | plgn |  | 0 | 1226 | 0 | 0 | 0
B | PAKET 1 BB | [6 empty] | 0 |  |  | 4
1 | PAKET 1 B1 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
2 | PAKET 1 B2 | Pasang TM - 2 B/H ( TIANG DOUBLE TUMPU ) |  |  | set |  | 0 | 195628 | 0 | 0 | 0
3 | PAKET 1 B3 | Pasang TM - 3 B/H ( TIANG TUMPU DOUBLE SIRKIT ) |  |  | set |  | 0 | 250272 | 0 | 0 | 0
4 | PAKET 1 B4 | Pasang TM - 4 B/H ( TIANG AFSPAN ) |  |  | set |  | 0 | 297486 | 0 | 0 | 0
5 | PAKET 1 B5 | Pasang TM - 4 B/H C (TIANG AFSPAN DENGAN CUT OUT) |  |  | set |  | 0 | 437958 | 0 | 0 | 0
6 | PAKET 1 B6 | Pasang TM - 4 HP ( TIANG AFSPAN PORTAL ) |  |  | set |  | 0 | 297486 | 0 | 0 | 0
7 | PAKET 1 B7 | Pasang TM - 5 B/H ( TIANG AFSPAN PORTAL 125 s/d 170 mtr ) |  |  | set |  | 0 | 391256 | 0 | 0 | 0
8 | PAKET 1 B8 | Pasang TM - 6 B/H ( TIANG AFSPAN PORTAL 170 s/d 235 mtr ) |  |  | set |  | 0 | 391256 | 0 | 0 | 0
9 | PAKET 1 B9 | Pasang TM - 7 B/H ( TIANG AFSPAN SUDU 90 DERAJAT ) |  |  | set |  | 0 | 379593 | 0 | 0 | 0
10 | PAKET 1 B10 | Pasang TM - 8 B/H ( TIANG PERCABANGAN JARINGAN ) |  |  | set |  | 0 | 334730 | 0 | 0 | 0
11 | PAKET 1 B11 | Pasang TM-8 BC/HC (TIANG PERCABANGAN JARINGAN DENGAN CO) |  |  | set |  | 0 | 475150 | 0 | 0 | 0
12 | PAKET 1 B12 | Pasang TM - 9 B/H ( TIANG PERCABANGAN JARINGAN DOUBLE SIRKIT ) |  |  | set |  | 0 | 1148749 | 0 | 0 | 0
13 | PAKET 1 B13 | Pasang TM - 10 B/H ( TIANG DUA PERCABANGAN JARINGAN ) |  |  | set |  | 0 | 462829 | 0 | 0 | 0
14 | PAKET 1 B14 | Pasang TM - 11 B/H (KABEL NAIK TIANG AWAL / AKHIR TIANG TUNGGAL) |  |  | set |  | 0 | 1458273 | 0 | 0 | 0
15 | PAKET 1 B15 | Pasang TM - 12 B/H (KABEL NAIK TIANG AWAL / AKHIR DUA SALURAN) |  |  | set |  | 0 | 3000911 | 0 | 0 | 0
16 | PAKET 1 B16 | Pasang TM - 13 B/H (KABEL NAIK TIANG TUNGGAL PADA TIANG TUMPU) |  |  | set |  | 0 | 1307791 | 0 | 0 | 0
17 | PAKET 1 B17 | Pasang TM - 14 B1/H1 / MV - 3 A (TIANG AWAL) |  |  | set |  | 0 | 225066 | 0 | 0 | 0
18 | PAKET 1 B18 | Pasang TM - 14 B/H / MV - 3 A (TIANG AKHIR) |  |  | set |  | 0 | 206162 | 0 | 0 | 0
19 | PAKET 1 B19 | Pasang TM - 14 B2/H2 / MV - 3A ( TIANG AWAL TANPA TRAVERS ) |  |  | set |  | 0 | 141172 | 0 | 0 | 0
20 | PAKET 1 B20 | Pasang TM - 15 B/H ( LOAD BREAK SWITCH ) |  |  | set |  | 0 | 925470 | 0 | 0 | 0
21 | PAKET 1 B21 | Pasang TM - 21 ( TRAVERS TYPE V ) |  |  | set |  | 0 | 155091 | 0 | 0 | 0
22 | PAKET 1 B22 | Pasang MVS - 1 ( TIANG TUMPU PADA TIANG BESI ) |  |  | set |  | 0 | 105620 | 0 | 0 | 0
23 | PAKET 1 B23 | Pasang MVS - 2 ( TIANG DOUBLE TUMPU PADA TIANG BESI ) |  |  | set |  | 0 | 195628 | 0 | 0 | 0
24 | PAKET 1 B24 | Pasang MVS - 3 ( TIANG AWAL PADA TIANG BESI ) |  |  | set |  | 0 | 223279 | 0 | 0 | 0
25 | PAKET 1 B25 | Pasang MVS - 3 ( TIANG AKHIR PADA TIANG BESI ) |  |  | set |  | 0 | 204375 | 0 | 0 | 0
26 | PAKET 1 B26 | Penarikan A3C 3x35 mm2 |  |  | kms |  | 0 | 4820647 | 0 | 0 | 0
27 | PAKET 1 B27 | Penarikan A3C 3x70 mm2 |  |  | kms |  | 0 | 4820647 | 0 | 0 | 0
28 | PAKET 1 B28 | Penarikan A3C 3x150 mm2 |  |  | kms |  | 0 | 6674742 | 0 | 0 | 0
29 | PAKET 1 B29 | Penarikan A3C 3x240 mm2 |  |  | kms |  | 0 | 8968443 | 0 | 0 | 0
30 | PAKET 1 B30 | Penarikan A3C 1x35 mm2 |  |  | gaw |  | 0 | 89973 | 0 | 0 | 0
31 | PAKET 1 B31 | Penarikan A3C 1x70 mm2 |  |  | gaw |  | 0 | 89973 | 0 | 0 | 0
32 | PAKET 1 B32 | Penarikan A3C 1x150 mm2 |  |  | gaw |  | 0 | 112466 | 0 | 0 | 0
33 | PAKET 1 B33 | Penarikan A3C 1x240 mm3 |  |  | gaw |  | 0 | 157453 | 0 | 0 | 0
34 | PAKET 1 B34 | Penarikan A3CS 1x70 mm2 |  |  | gaw |  | 0 | 121676 | 0 | 0 | 0
35 | PAKET 1 B35 | Penarikan A3CS 1x150 mm2 |  |  | gaw |  | 0 | 179946 | 0 | 0 | 0
36 | PAKET 1 B36 | Penarikan A3CS 1x240 mm2 |  |  | gaw |  | 0 | 202440 | 0 | 0 | 0
37 | PAKET 1 B37 | Penarikan A3CS 3x70 mm2 |  |  | kms |  | 0 | 7337817 | 0 | 0 | 0
38 | PAKET 1 B38 | Penarikan A3CS 3x150 mm2 |  |  | kms |  | 0 | 10184082 | 0 | 0 | 0
39 | PAKET 1 B39 | Penarikan A3CS 3x240 mm2 |  |  | kms |  | 0 | 11619777 | 0 | 0 | 0
40 | PAKET 1 B40 | Pasang Straint Clamp 150-240 |  |  | bh |  | 0 | 7323 | 0 | 0 | 0
41 | PAKET 1 B41 | Bongkar A3C 3x35 sqmm (untuk penggantian) |  |  | gw |  | 0 | 262173 | 0 | 0 | 0
42 | PAKET 1 B42 | Bongkar A3C 3x70 sqmm (untuk penggantian) |  |  | gw |  | 0 | 262173 | 0 | 0 | 0
43 | PAKET 1 B43 | Bongkar A3C 3x150 sqmm (untuk penggantian) |  |  | gw |  | 0 | 327717 | 0 | 0 | 0
44 | PAKET 1 B44 | Bongkar A3C 3x240 sqmm (untuk penggantian) |  |  | gw |  | 0 | 458803 | 0 | 0 | 0
45 | PAKET 1 B45 | Bongkar A3CS 3x70 sqmm (untuk penggantian) |  |  | gw |  | 0 | 280900 | 0 | 0 | 0
46 | PAKET 1 B46 | Bongkar A3CS 3x150 sqmm (untuk penggantian) |  |  | gw |  | 0 | 421350 | 0 | 0 | 0
47 | PAKET 1 B47 | Bongkar A3CS 3x240 sqmm (untuk penggantian) |  |  | gw |  | 0 | 491575 | 0 | 0 | 0
48 | PAKET 1 B48 | Bongkar Binding wire |  |  | bh |  | 0 | 6256 | 0 | 0 | 0
49 | PAKET 1 B49 | Bongkar Isolator Tumpu |  |  | set |  | 0 | 7933 | 0 | 0 | 0
50 | PAKET 1 B50 | Bongkar Isolator Afspan |  |  | set |  | 0 | 11595 | 0 | 0 | 0
51 | PAKET 1 B51 | Pasang Isolator Tumpu |  |  | bh |  | 0 | 10577 | 0 | 0 | 0
52 | PAKET 1 B52 | Pasang Isolator Afspan |  |  | bh |  | 0 | 15459 | 0 | 0 | 0
53 | PAKET 1 B53 | Pasang TOP TIES POLYPROPILENE;70-240mm2 |  |  | bh |  | 0 | 8064 | 0 | 0 | 0
54 | PAKET 1 B54 | Pasang SIDE TIES POLYPROPILENE;70-240mm2 |  |  | bh |  | 0 | 8064 | 0 | 0 | 0
55 | PAKET 1 B55 | Pasang DOUBLE TIES POLYPROPILENE;70-240mm2 |  |  | bh |  | 0 | 10705 | 0 | 0 | 0
56 | PAKET 1 B56 | Bongkar TOP TIES POLYPROPILENE;70-240mm2 |  |  | bh |  | 0 | 6048 | 0 | 0 | 0
57 | PAKET 1 B57 | Bongkar SIDE TIES POLYPROPILENE;70-240mm2 |  |  | bh |  | 0 | 6048 | 0 | 0 | 0
58 | PAKET 1 B58 | Bongkar DOUBLE TIES POLYPROPILENE;150-240mm2 |  |  | bh |  | 0 | 8029 | 0 | 0 | 0
59 | PAKET 1 B59 | Bongkar TM - 1 B/H ( TIANG TUMPU ) |  |  | set |  | 0 | 79215 | 0 | 0 | 0
60 | PAKET 1 B60 | Bongkar TM - 2 B/H ( TIANG DOUBLE TUMPU ) |  |  | set |  | 0 | 146721 | 0 | 0 | 0
61 | PAKET 1 B61 | Bongkar TM - 3 B/H ( TIANG TUMPU DOUBLE SIRKIT ) |  |  | set |  | 0 | 187704 | 0 | 0 | 0
62 | PAKET 1 B62 | Bongkar TM - 4 B/H ( TIANG AFSPAN ) |  |  | set |  | 0 | 223114 | 0 | 0 | 0
63 | PAKET 1 B63 | Bongkar TM - 4 B/H C (TIANG AFSPAN DENGAN CUT OUT) |  |  | set |  | 0 | 328469 | 0 | 0 | 0
64 | PAKET 1 B64 | Bongkar TM - 4 HP ( TIANG AFSPAN PORTAL ) |  |  | set |  | 0 | 223114 | 0 | 0 | 0
65 | PAKET 1 B65 | Bongkar TM - 5 B/H ( TIANG AFSPAN PORTAL 125 s/d 170 mtr ) |  |  | set |  | 0 | 293442 | 0 | 0 | 0
66 | PAKET 1 B66 | Bongkar TM - 6 B/H ( TIANG AFSPAN PORTAL 170 s/d 235 mtr ) |  |  | set |  | 0 | 293442 | 0 | 0 | 0
67 | PAKET 1 B67 | Bongkar TM - 7 B/H ( TIANG AFSPAN SUDU 90 DERAJAT ) |  |  | set |  | 0 | 284695 | 0 | 0 | 0
68 | PAKET 1 B68 | Bongkar TM - 8 B/H ( TIANG PERCABANGAN JARINGAN ) |  |  | set |  | 0 | 251048 | 0 | 0 | 0
69 | PAKET 1 B69 | Bongkar TM-8 BC/HC (TIANG PERCABANGAN JARINGAN DENGAN CO) |  |  | set |  | 0 | 356362 | 0 | 0 | 0
70 | PAKET 1 B70 | Bongkar TM - 9 B/H ( TIANG PERCABANGAN JARINGAN DOUBLE SIRKIT ) |  |  | set |  | 0 | 861562 | 0 | 0 | 0
71 | PAKET 1 B71 | Bongkar TM - 10 B/H ( TIANG DUA PERCABANGAN JARINGAN ) |  |  | set |  | 0 | 347122 | 0 | 0 | 0
72 | PAKET 1 B72 | BongkarTM - 11 B/H (KABEL NAIK TIANG AWAL / AKHIR TIANG TUNGGAL) |  |  | set |  | 0 | 1093705 | 0 | 0 | 0
73 | PAKET 1 B73 | Bongkar TM - 12 B/H (KABEL NAIK TIANG AWAL / AKHIR DUA SALURAN) |  |  | set |  | 0 | 2250683 | 0 | 0 | 0
74 | PAKET 1 B74 | Bongkar TM - 13 B/H (KABEL NAIK TIANG TUNGGAL PADA TIANG TUMPU) |  |  | set |  | 0 | 980843 | 0 | 0 | 0
75 | PAKET 1 B75 | Bongkar TM - 14 B1/H1 / MV - 3A ( TIANG AWAL ) |  |  | set |  | 0 | 168799 | 0 | 0 | 0
76 | PAKET 1 B76 | Bongkar TM - 14 B/H / MV - 3A ( TIANG AKHIR ) |  |  | set |  | 0 | 154621 | 0 | 0 | 0
77 | PAKET 1 B77 | Bongkar TM - 14 B2/H2 / MV - 3A ( TIANG AWAL TANPA TRAVERS ) |  |  | set |  | 0 | 105879 | 0 | 0 | 0
78 | PAKET 1 B78 | Bongkar TM - 15 B/H ( LOAD BREAK SWITCH ) |  |  | set |  | 0 | 694102 | 0 | 0 | 0
79 | PAKET 1 B79 | Bongkar TM - 21 ( TRAVERS TYPE V ) |  |  | set |  | 0 | 116319 | 0 | 0 | 0
80 | PAKET 1 B80 | Bongkar MVS - 1 ( TIANG TUMPU PADA TIANG BESI ) |  |  | set |  | 0 | 79215 | 0 | 0 | 0
81 | PAKET 1 B81 | Bongkar MVS - 2 ( TIANG DOUBLE TUMPU PADA TIANG BESI ) |  |  | set |  | 0 | 146721 | 0 | 0 | 0
82 | PAKET 1 B82 | Bongkar MVS - 3 ( TIANG AWAL PADA TIANG BESI ) |  |  | set |  | 0 | 167459 | 0 | 0 | 0
83 | PAKET 1 B83 | Bongkar MVS - 3 ( TIANG AKHIR PADA TIANG BESI ) |  |  | set |  | 0 | 153281 | 0 | 0 | 0
84 | PAKET 1 B84 | Bongkar POLE ACC;TRAVERS;TMP |  |  | set |  | 0 | 36614 | 0 | 0 | 0
85 | PAKET 1 B85 | Bongkar POLE ACC;TRAVERS;TMP-DBL |  |  | set |  | 0 | 61566 | 0 | 0 | 0
86 | PAKET 1 B86 | Bongkar POLE ACC;TRAVERS;AFSPAN-O;U100X1800 - 2000 |  |  | set |  | 0 | 61566 | 0 | 0 | 0
87 | PAKET 1 B87 | Bongkar POLE ACC;TRAVERS;AFSPAN-O;U100X2500 - 3000 |  |  | set |  | 0 | 131937 | 0 | 0 | 0
88 | PAKET 1 B88 | Bongkar Straint Clamp 35-70 |  |  | set |  | 0 | 5492 | 0 | 0 | 0
89 | PAKET 1 B89 | Bongkar POLE ACC;TRAVERS;TMP-V-O;U100X1800 |  |  | bh |  | 0 | 73746 | 0 | 0 | 0
90 | PAKET 1 B90 | Pasang Tiang Besi 11 M |  |  | bh |  | 0 | 193844 | 0 | 0 | 0
91 | PAKET 1 B91 | Pasang tiang beton 12/200 daN & lansir |  |  | bh |  | 0 | 841669 | 0 | 0 | 0
92 | PAKET 1 B92 | Pasang tiang beton 12/350 daN & lansir |  |  | bh |  | 0 | 939363 | 0 | 0 | 0
93 | PAKET 1 B93 | Pasang tiang beton 13/350 daN & lansir |  |  | bh |  | 0 | 1156429 | 0 | 0 | 0
94 | PAKET 1 B94 | Pasang tiang beton 14/350 daN & lansir |  |  | bh |  | 0 | 1771708 | 0 | 0 | 0
95 | PAKET 1 B95 | Pasang Stay set TM |  |  | bh |  | 0 | 128961 | 0 | 0 | 0
96 | PAKET 1 B96 | Pasang Kontramast TM |  |  | btg |  | 0 | 232130 | 0 | 0 | 0
97 | PAKET 1 B97 | Bongkar Tiang Beton |  |  | btg |  | 0 | 444415 | 0 | 0 | 0
98 | PAKET 1 B98 | Bongkar Tiang Besi |  |  | btg |  | 0 | 135691 | 0 | 0 | 0
99 | PAKET 1 B99 | Pondasi Tiang TM |  |  | btg |  | 0 | 499351 | 0 | 0 | 0
100 | PAKET 1 B100 | Penebangan Pohon kelapa |  |  | phn |  | 0 | 424091 | 0 | 0 | 0
101 | PAKET 1 B101 | Penebangan Pohon lain-lain |  |  | phn |  | 0 | 85523 | 0 | 0 | 0
102 | PAKET 1 B102 | Penebangan Pohon Produktif |  |  | btg |  | 0 | 283837 | 0 | 0 | 0
103 | PAKET 1 B103 | Penebangan pohon bambu |  |  | phn |  | 0 | 21025 | 0 | 0 | 0
104 | PAKET 1 B104 | Pemangkasan Pohon kelapa |  |  | phn |  | 0 | 58770 | 0 | 0 | 0
105 | PAKET 1 B105 | Pemangkasan Pohon lain-lain |  |  | phn |  | 0 | 22710 | 0 | 0 | 0
106 | PAKET 1 B106 | Pemangkasan Pohon Produktif |  |  | phn |  | 0 | 14762 | 0 | 0 | 0
107 | PAKET 1 B107 | Pemangkasan pohon bambu |  |  | phn |  | 0 | 49598 | 0 | 0 | 0
108 | PAKET 1 B108 | Pasang Stay-Set/ Tupang Tarik TM, Material + Jasa Pasang |  |  | set |  | 0 | 831733 | 0 | 0 | 0
109 | PAKET 1 B109 | Pasang Tupang Antar Tarik (TAR-1 TB) TM (Material + Jasa Pasang) |  |  | bh |  | 0 | 1338309 | 0 | 0 | 0
110 | PAKET 1 B110 |  |  |  | bh |  | 1 | 0 | 0 | 0 | 1
111 | PAKET 1 B111 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
112 | PAKET 1 B112 | Pemasangan pentanahan TM |  |  | bh |  | 0 | 206276 | 0 | 0 | 0
113 | PAKET 1 B113 |  |  |  | btg |  | 1 | 0 | 0 | 0 | 1
114 | PAKET 1 B114 | Penarikan Ground Steel Wire LKP Tiang Penyangga |  |  | kms |  | 0 | 2467267 | 0 | 0 | 0
115 | PAKET 1 B115 | Penarikan Ground Steel Wire Tanpa Tiang Penyangga |  |  | gw |  | 0 | 75916 | 0 | 0 | 0
116 | PAKET 1 B116 | Penarikan Ground Steel Wire LKP Tiang Penyangga |  |  | gw |  | 0 | 123363 | 0 | 0 | 0
117 | PAKET 1 B117 | Bongkar Ground Steel Wire Tanpa Tiang Penyangga |  |  | gw |  | 0 | 56937 | 0 | 0 | 0
118 | PAKET 1 B118 | Bongkar Ground Steel Wire LKP Tiang Penyangga |  |  | gw |  | 0 | 92523 | 0 | 0 | 0
119 | PAKET 1 B119 | Pasang Pole Mounted Fault Detector (PMFD) |  |  | bh |  | 0 | 29549 | 0 | 0 | 0
120 | PAKET 1 B120 | Pasang cover isolator |  |  | bh |  | 0 | 7961 | 0 | 0 | 0
121 | PAKET 1 B121 | Bongkar cover isolator |  |  | bh |  | 0 | 5971 | 0 | 0 | 0
122 | PAKET 1 B122 | Pasang Reclosser |  |  | set |  | 0 | 528457 | 0 | 0 | 0
123 | PAKET 1 B123 | Bongkar Reclosser |  |  | set |  | 0 | 396343 | 0 | 0 | 0
124 | PAKET 1 B124 | Pasang LBS Motorise |  |  | set |  | 0 | 528457 | 0 | 0 | 0
125 | PAKET 1 B125 | Bongkar LBS Motorise |  |  | set |  | 0 | 396343 | 0 | 0 | 0
126 | PAKET 1 B126 | Pasang Arrester + Jumper |  |  | bh |  | 0 | 46824 | 0 | 0 | 0
127 | PAKET 1 B127 | Bongkar Arrester + Jumper |  |  | bh |  | 0 | 35118 | 0 | 0 | 0
128 | PAKET 1 B128 | Pasang Cut Out + Jumper |  |  | bh |  | 0 | 46824 | 0 | 0 | 0
129 | PAKET 1 B129 | Bongkar Cut Out + Jumper |  |  | bh |  | 0 | 35118 | 0 | 0 | 0
130 | PAKET 1 B130 | Perbaikan tiang besi miring TM tanpa pondasi |  |  | bh |  | 0 | 140665 | 0 | 0 | 0
131 | PAKET 1 B131 | Perbaikan tiang beton miring TM tanpa pondasi |  |  | bh |  | 0 | 166158 | 0 | 0 | 0
132 | PAKET 1 B132 | Penggantian tiang besi 11 mtr keropos, potong |  |  | bh |  | 0 | 379524 | 0 | 0 | 0
133 | PAKET 1 B133 | Penggantian tiang beton 11 mtr tanpa pondasi |  |  | bh |  | 0 | 838616 | 0 | 0 | 0
134 | PAKET 1 B134 | Perbaikan tiang besi miring TM dengan pondasi |  |  | bh |  | 0 | 602177 | 0 | 0 | 0
135 | PAKET 1 B135 | Perbaikan tiang beton miring TM pondasi |  |  | bh |  | 0 | 629012 | 0 | 0 | 0
136 | PAKET 1 B136 | Penggantian Travers Tumpu |  |  | bh |  | 0 | 79229 | 0 | 0 | 0
137 | PAKET 1 B137 | Penggantian Travers Double Tumpu |  |  | bh |  | 0 | 144289 | 0 | 0 | 0
138 | PAKET 1 B138 | Penggantian Travers Afspan 1,8m - 2 m |  |  | bh |  | 0 | 144289 | 0 | 0 | 0
139 | PAKET 1 B139 | Penggantian Travers afspan 2,5 m |  |  | bh |  | 0 | 325707 | 0 | 0 | 0
140 | PAKET 1 B140 | Penggantian Travers afspan 3 m |  |  | set |  | 0 | 325707 | 0 | 0 | 0
141 | PAKET 1 B141 | Perbaikan travers konstruksi TM - 1B miring |  |  | set |  | 0 | 51634 | 0 | 0 | 0
142 | PAKET 1 B142 | Perbaikan konstruksi M 21 |  |  | bh |  | 0 | 118717 | 0 | 0 | 0
143 | PAKET 1 B143 | Penggantian isolator tumpu |  |  | set |  | 0 | 18514 | 0 | 0 | 0
144 | PAKET 1 B144 | Penggantian isolator afspan 1 fase |  |  | bh |  | 0 | 24740 | 0 | 0 | 0
145 | PAKET 1 B145 | Pembersihan isolator tumpu |  |  | bh |  | 0 | 12029 | 0 | 0 | 0
146 | PAKET 1 B146 | Pembersihan isolator afspan 1 fase |  |  | bh |  | 0 | 12029 | 0 | 0 | 0
147 | PAKET 1 B147 | Perbaikan pengencangan tali isolator |  |  | set |  | 0 | 12314 | 0 | 0 | 0
148 | PAKET 1 B148 | Perbaikan Tupang Tarik/ treck schoor |  |  | set |  | 0 | 79087 | 0 | 0 | 0
149 | PAKET 1 B149 | Perbaikan Tupang Antar Tarik/ Ambar schoor |  |  | set |  | 0 | 88973 | 0 | 0 | 0
150 | PAKET 1 B150 | Perbaikan Tupang Tekan/ Druck Schoor |  |  | set |  | 0 | 187455 | 0 | 0 | 0
151 | PAKET 1 B151 | Pemindahan/ Bongkar pasang Tupang Tarik/ treck schoor |  |  | bh |  | 0 | 98131 | 0 | 0 | 0
152 | PAKET 1 B152 | Penggantian Compression Connector SUTM 35 s/d 70 mm2 |  |  | bh |  | 0 | 23902 | 0 | 0 | 0
153 | PAKET 1 B153 | Penggantian Compression Connector SUTM 150 s/d 240 mm2 |  |  | bh |  | 0 | 29878 | 0 | 0 | 0
154 | PAKET 1 B154 | Penggantian Non tension joint 35 s/d 70 mm2 |  |  | bh |  | 0 | 25894 | 0 | 0 | 0
155 | PAKET 1 B155 | Penggantian Non tension joint 150 s/d 240 mm2 |  |  | bh |  | 0 | 29878 | 0 | 0 | 0
156 | PAKET 1 B156 | Penggantian Tension joint 35 s/d 70 mm2 (termasuk pengencangan Jaringan) |  |  | bh |  | 0 | 87560 | 0 | 0 | 0
157 | PAKET 1 B157 | Penggantian Tension joint 150 s/d 240 mm2 (termasuk pengencangan Jaringan) |  |  | bh |  | 0 | 87560 | 0 | 0 | 0
158 | PAKET 1 B158 | Penggantian compression cable shoes 35 s/d 70 mm2 |  |  | bh |  | 0 | 23902 | 0 | 0 | 0
159 | PAKET 1 B159 | Penggantian compression cable shoes 95 s/d 240 mm2 |  |  | bh |  | 0 | 25894 | 0 | 0 | 0
160 | PAKET 1 B160 | Pasang Non-tension Joint |  |  | bh |  | 0 | 19811 | 0 | 0 | 0
161 | PAKET 1 B161 | Penggantian konduktor (perbaikan kawat terurai) |  |  | bh |  | 0 | 199408 | 0 | 0 | 0
162 | PAKET 1 B162 | Pemasangan tension joint 2 bh |  |  | gwg |  | 0 | 66007 | 0 | 0 | 0
163 | PAKET 1 B163 | Penggantian konduktor 1 fas 1 gwg |  |  | gwg |  | 0 | 133401 | 0 | 0 | 0
164 | PAKET 1 B164 | Perbaikan andongan SUTM (Pengencangan) |  |  | set |  | 0 | 148223 | 0 | 0 | 0
165 | PAKET 1 B165 | Pasang APP Pengukuran TM (lengkap pengawatan, tdk berikut CT/PT) |  |  | set |  | 0 | 260445 | 0 | 0 | 0
166 | PAKET 1 B166 | Pasang Dudukan CT, PT Outdoor |  |  | bh |  | 0 | 183573 | 0 | 0 | 0
167 | PAKET 1 B167 | Pasang CT 20 kV outdoor |  |  | bh |  | 0 | 151753 | 0 | 0 | 0
168 | PAKET 1 B168 | Pasang PT 20 kV outdoor |  |  | mtr |  | 0 | 151753 | 0 | 0 | 0
169 | PAKET 1 B169 | Pembongkaran Paralonisasi |  |  | bh |  | 0 | 1881 | 0 | 0 | 0
170 | PAKET 1 B170 | Tiang Besi 11Mtr dimeni dan dicat 1kali ( tiang sudah berdiri ) tanpa travers |  |  | bh |  | 0 | 322725 | 0 | 0 | 0
171 | PAKET 1 B171 | Tiang Besi 11Mtr dimeni dan dicat 1kali ( tiang sudah berdiri ) lengkap travers |  |  | bh |  | 0 | 380782 | 0 | 0 | 0
172 | PAKET 1 B172 | Tiang Besi 11 Mtr dicat 1kali (tiang sudah berdiri) tanpa travers |  |  | bh |  | 0 | 214281 | 0 | 0 | 0
173 | PAKET 1 B173 | Tiang Besi 11 Mtr dicat 1kali (tiang sudah berdiri) lengkap travers |  |  | bh |  | 0 | 249140 | 0 | 0 | 0
174 | PAKET 1 B174 | Tiang Besi 11Mtr dikerok, meni dan dicat 2kali (tiang sudah berdiri) tanpa travers |  |  | bh |  | 0 | 614514 | 0 | 0 | 0
175 | PAKET 1 B175 | Tiang Besi 11Mtr dikerok, meni dan dicat 2kali (tiang sudah berdiri) lengkap travers |  |  | bh |  | 0 | 730176 | 0 | 0 | 0
176 | PAKET 1 B176 | Tiang Besi 13 Mtr dicat 1 kali (tiang sudah berdiri) tanpa travers |  |  | bh |  | 0 | 345107 | 0 | 0 | 0
177 | PAKET 1 B177 | Tiang Besi 13 Mtr dicat 1 kali (tiang sudah berdiri) lengkap travers |  |  | bh |  | 0 | 386355 | 0 | 0 | 0
178 | PAKET 1 B178 | Tiang Besi 13 Mtr dimeni dan dicat 1 kali (tiang sudah berdiri) tanpa travers |  |  | bh |  | 0 | 520823 | 0 | 0 | 0
179 | PAKET 1 B179 | Tiang Besi 13 Mtr dimeni dan dicat 1 kali (tiang sudah berdiri) lengkap travers |  |  | bh |  | 0 | 582873 | 0 | 0 | 0
180 | PAKET 1 B180 | Tiang besi 13 Mtr dikerok, meni dan dicat 2 kali (tiang sdh berdiri) tanpa travers |  |  | bh |  | 0 | 996674 | 0 | 0 | 0
181 | PAKET 1 B181 | Tiang Besi 13 Mtr dikerok, meni dan dicat 2 kali (tiang sdh berdiri) lengkap travers |  |  | bh |  | 0 | 1121122 | 0 | 0 | 0
C | PAKET 1 CC | [6 empty] | 0 |  |  | 23
1 | PAKET 1 C1 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
2 | PAKET 1 C2 |  |  |  | set |  | 0 |  | 0 | 0 | 0
3 | PAKET 1 C3 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
4 | PAKET 1 C4 |  |  |  | bh |  | 0 |  | 0 | 0 | 0
5 | PAKET 1 C5 | Pemasangan PHBTR 2 Jurusan |  |  | bh |  | 0 | 274605 | 0 | 0 | 0
6 | PAKET 1 C6 | Pemasangan PHBTR 4 Jurusan |  |  | bh |  | 0 | 638623 | 0 | 0 | 0
7 | PAKET 1 C7 | Pengelasan Besi UNP 10 (u/ dudukan PHBTR) |  |  | bh |  | 0 | 84647 | 0 | 0 | 0
8 | PAKET 1 C8 | Pasang trafo 25-50 kVA |  |  | bh |  | 0 | 525627 | 0 | 0 | 0
9 | PAKET 1 C9 | Pasang trafo 100 kVA |  |  | bh |  | 0 | 626657 | 0 | 0 | 0
10 | PAKET 1 C10 | Pasang trafo 160 kVA |  |  | bh |  | 0 | 651724 | 0 | 0 | 0
11 | PAKET 1 C11 |  |  |  | bh |  | 1 | 0 | 0 | 0 | 1
12 | PAKET 1 C12 | Pasang trafo 315 kVA |  |  | bh |  | 0 | 614161 | 0 | 0 | 0
13 | PAKET 1 C13 | Pasang trafo 400 kVA |  |  | bh |  | 0 | 662050 | 0 | 0 | 0
14 | PAKET 1 C14 | Bongkar trafo 25-50 kVA |  |  | bh |  | 0 | 394220 | 0 | 0 | 0
15 | PAKET 1 C15 | Bongkar trafo 100 kVA |  |  | bh |  | 0 | 469993 | 0 | 0 | 0
16 | PAKET 1 C16 | Bongkar trafo 160 kVA |  |  | bh |  | 0 | 488793 | 0 | 0 | 0
17 | PAKET 1 C17 | Bongkar trafo 200 - 250 kVA |  |  | bh |  | 0 | 596543 | 0 | 0 | 0
18 | PAKET 1 C18 | Bongkar trafo 315 kVA |  |  | bh |  | 0 | 460621 | 0 | 0 | 0
19 | PAKET 1 C19 | Bongkar trafo 400 kVA |  |  | bh |  | 0 | 496537 | 0 | 0 | 0
20 | PAKET 1 C20 |  |  |  | bh |  | 3 | 0 | 0 | 0 | 3
21 | PAKET 1 C21 | Bongkar Arrester + Jumper |  |  | bh |  | 0 | 35118 | 0 | 0 | 0
22 | PAKET 1 C22 |  |  |  | bh |  | 3 | 0 | 0 | 0 | 3
23 | PAKET 1 C23 | Bongkar Cut Out + Jumper |  |  | bh |  | 0 | 35118 | 0 | 0 | 0
24 | PAKET 1 C24 |  |  |  | bh |  | 3 | 0 | 0 | 0 | 3
25 | PAKET 1 C25 |  |  |  | bh |  | 3 | 0 | 0 | 0 | 3
26 | PAKET 1 C26 |  |  |  | bh |  | 3 | 0 | 0 | 0 | 3
27 | PAKET 1 C27 | Bongkar Cover Arrester |  |  | bh |  | 0 | 7873 | 0 | 0 | 0
28 | PAKET 1 C28 | Bongkar Cover Cut Out |  |  | bh |  | 0 | 7873 | 0 | 0 | 0
29 | PAKET 1 C29 | Bongkar Cover Bushing Trafo |  |  | bh |  | 0 | 7480 | 0 | 0 | 0
30 | PAKET 1 C30 |  |  |  | bh |  | 1 | 0 | 0 | 0 | 1
31 | PAKET 1 C31 | Perbaikan Pondasi Gardu Cantol |  |  | bh |  | 0 | 1420995 | 0 | 0 | 0
32 | PAKET 1 C32 | Pembuatan pondasi gardu Portal |  |  | bh |  | 0 |  | 0 | 0 | 0
33 | PAKET 1 C33 | Perbaikan pondasi gardu Portal |  |  | bh |  | 0 | 2955069 | 0 | 0 | 0
34 | PAKET 1 C34 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
35 | PAKET 1 C35 |  |  |  | set |  | 1 | 0 | 0 | 0 | 1
36 | PAKET 1 C36 | Pasang Pentanahan Ganda TM Gardu Portal |  |  | set |  | 0 |  | 0 | 0 | 0
37 | PAKET 1 C37 | Pemasangan MTD Pada Gardu Tiang |  |  | set |  | 0 | 97116 | 0 | 0 | 0
38 | PAKET 1 C38 | Bongkar KWH MTD |  |  | set |  | 0 | 72837 | 0 | 0 | 0
39 | PAKET 1 C39 |  |  |  | set |  | 2 | 0 | 0 | 0 | 2
40 | PAKET 1 C40 | Pasang Cubicle RMU/ Garpor; lengkap Dudukan |  |  | set |  | 0 | 511609 | 0 | 0 | 0
41 | PAKET 1 C41 | Pasang Kbl Single Core 20 kV lengkap Pipa Pelindung |  |  | set |  | 0 |  | 0 | 0 | 0
42 | PAKET 1 C42 | Pemasangan Elastimol, kabel singel core |  |  | set |  | 0 | 470415 | 0 | 0 | 0
43 | PAKET 1 C43 | Pasang Single Core Outdoor Termination (3 Fasa ) |  |  | set |  | 0 | 470415 | 0 | 0 | 0
44 | PAKET 1 C44 | Bongkar rangka gardu Cantol |  |  | set |  | 0 | 245086.8 | 0 | 0 | 0
45 | PAKET 1 C45 | Bongkar rangka gardu Portal |  |  | set |  | 0 | 367630.2 | 0 | 0 | 0
46 | PAKET 1 C46 | Bongkar hardware, isolator, pipa, PGTM/TR Cantol |  |  | set |  | 0 | 312685.1 | 0 | 0 | 0
47 | PAKET 1 C47 | Bongkar hardware, isolator, pipa, PGTM/TR Portal |  |  | set |  | 0 | 718795 | 0 | 0 | 0
48 | PAKET 1 C48 | Bongkar Kabel Naik TR & Pipa Pelindung untuk Jurusan |  |  | set |  | 0 | 114185.4 | 0 | 0 | 0
49 | PAKET 1 C49 | Bongkar Pentanahan TM Gardu Cantol |  |  | set |  | 0 | 114286 | 0 | 0 | 0
50 | PAKET 1 C50 | Bongkar Pentanahan Ganda TM Gardu Portal |  |  | set |  | 0 | 182857.5 | 0 | 0 | 0
51 | PAKET 1 C51 | Bongkar Kbl Single Core 20 kV lengkap Pipa Pelindung |  |  | set |  | 0 | 224623.7 | 0 | 0 | 0
D | PAKET 1 DD | JASA SUTR | [5 empty] | 0 |  |  | 0
1 | PAKET 1 D1 | TR - 1 B ( JARINGAN < 45 DERAJAT ) |  |  | set |  | 0 | 20785 | 0 | 0 | 0
2 | PAKET 1 D2 | TR - 1 BD ( DUA SALURAN JARINGAN < 45 DERAJAT ) |  |  | set |  | 0 | 41477 | 0 | 0 | 0
3 | PAKET 1 D3 | TR - 2 B ( JARINGAN 45-120 DERAJAT ) |  |  | set |  | 0 | 25676 | 0 | 0 | 0
4 | PAKET 1 D4 | TR - 2 BD ( DUA SALURAN JARINGAN 45-120 DERAJAT ) |  |  | set |  | 0 | 51352 | 0 | 0 | 0
5 | PAKET 1 D5 | TR - 3 B ( JARINGAN PENEGANG ) |  |  | set |  | 0 | 43452 | 0 | 0 | 0
6 | PAKET 1 D6 | TR - 3 BD ( DUA SALURAN JARINGAN PENEGANG ) |  |  | set |  | 0 | 86998 | 0 | 0 | 0
7 | PAKET 1 D7 | TR - 4 B ( JARINGAN SATU PERCABANGAN ) |  |  | set |  | 0 | 92077 | 0 | 0 | 0
8 | PAKET 1 D8 | TR - 4 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN ) |  |  | set |  | 0 | 184248 | 0 | 0 | 0
9 | PAKET 1 D9 | TR - 5 B ( JARINGAN SATU PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 97061 | 0 | 0 | 0
10 | PAKET 1 D10 | TR - 5 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 194123 | 0 | 0 | 0
11 | PAKET 1 D11 | TR - 6 B ( JARINGAN SATU PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 114837 | 0 | 0 | 0
12 | PAKET 1 D12 | TR - 6 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 229675 | 0 | 0 | 0
13 | PAKET 1 D13 | TR - 7 B ( JARINGAN DUA PERCABANGAN PADA SMALL ANGEL ) |  |  | set |  | 0 | 163462 | 0 | 0 | 0
14 | PAKET 1 D14 | TR - 7 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA SMALL ANGEL ) |  |  | set |  | 0 | 326924 | 0 | 0 | 0
15 | PAKET 1 D15 | TR - 8 B ( JARINGAN DUA PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 168447 | 0 | 0 | 0
16 | PAKET 1 D16 | TR - 8 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 336894 | 0 | 0 | 0
17 | PAKET 1 D17 | TR - 9 B ( JARINGAN DUA PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 186223 | 0 | 0 | 0
18 | PAKET 1 D18 | TR - 9 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 372445 | 0 | 0 | 0
19 | PAKET 1 D19 | TR - 10 B ( JARINGAN AWAL ) ADJ |  |  | set |  | 0 | 71385 | 0 | 0 | 0
20 | PAKET 1 D20 | TR - 10 BD ( DUA SALURAN JARINGAN AWAL ) ADJ |  |  | set |  | 0 | 142771 | 0 | 0 | 0
21 | PAKET 1 D21 | TR - 10 B (JARINGAN AKHIR ) |  |  | set |  | 0 | 51352 | 0 | 0 | 0
22 | PAKET 1 D22 | TR - 10 BD ( DUA SALURAN JARINGAN AKHIR ) |  |  | set |  | 0 | 51352 | 0 | 0 | 0
23 | PAKET 1 D23 | TR - 11 B (JARINGAN AWAL ) FIXED |  |  | set |  | 0 | 88973 | 0 | 0 | 0
24 | PAKET 1 D24 | TR - 11 BD ( DUA SALURAN JARINGAN AWAL ) FIXED |  |  | set |  | 0 | 177946 | 0 | 0 | 0
25 | PAKET 1 D25 | TR - 12 B (JARINGAN AWAL DUA JURUSAN) FIXED |  |  | set |  | 0 | 177946 | 0 | 0 | 0
26 | PAKET 1 D26 | TR - 12 BD ( DUA JURUSAN DOUBLE SIRKIT JARINGAN AWAL) FIXED |  |  | set |  | 0 | 355986 | 0 | 0 | 0
27 | PAKET 1 D27 | Penarikan TIC 3X70+N |  |  | km |  | 0 | 3762555 | 0 | 0 | 0
28 | PAKET 1 D28 | Penarikan TIC 3X35+N |  |  | km |  | 0 | 3044249 | 0 | 0 | 0
29 | PAKET 1 D29 | Pemasangan Belalai TR TIC 3x35+N |  |  | bh |  | 0 | 12189 | 0 | 0 | 0
30 | PAKET 1 D30 | Pemasangan titik sambung SUTR |  |  | bh |  | 0 | 12189 | 0 | 0 | 0
31 | PAKET 1 D31 | Bongkar TIC 3x35+N |  |  | gw |  | 0 | 110604 | 0 | 0 | 0
32 | PAKET 1 D32 | Bongkar TIC 3x25+N |  |  | gw |  | 0 | 101551 | 0 | 0 | 0
33 | PAKET 1 D33 | Bongkar TIC 2x25+N |  |  | gw |  | 0 | 101551 | 0 | 0 | 0
34 | PAKET 1 D34 | Bongkar Tiang Beton TR |  |  | btg |  | 0 | 323104 | 0 | 0 | 0
35 | PAKET 1 D35 | Pasang Tiang Besi TR |  |  | btg |  | 0 | 155161 | 0 | 0 | 0
36 | PAKET 1 D36 | Pasang tiang beton 9/200 daN & lansir |  |  | btg |  | 0 | 461578 | 0 | 0 | 0
37 | PAKET 1 D37 | Pasang tiang beton 9/350 daN & lansir |  |  | btg |  | 0 | 514329 | 0 | 0 | 0
38 | PAKET 1 D38 | Bongkar Tiang Besi TR |  |  | btg |  | 0 | 116371 | 0 | 0 | 0
39 | PAKET 1 D39 | BONGKAR TR - 1 B ( JARINGAN < 45 DERAJAT ) |  |  | set |  | 0 | 15589 | 0 | 0 | 0
40 | PAKET 1 D40 | BONGKAR TR - 1 BD ( DUA SALURAN JARINGAN < 45 DERAJAT ) |  |  | set |  | 0 | 31108 | 0 | 0 | 0
41 | PAKET 1 D41 | BONGKAR TR - 2 B ( JARINGAN 45-120 DERAJAT ) |  |  | set |  | 0 | 19257 | 0 | 0 | 0
42 | PAKET 1 D42 | BONGKAR TR - 2 BD ( DUA SALURAN JARINGAN 45-120 DERAJAT ) |  |  | set |  | 0 | 38514 | 0 | 0 | 0
43 | PAKET 1 D43 | BONGKAR TR - 3 B ( JARINGAN PENEGANG ) |  |  | set |  | 0 | 32589 | 0 | 0 | 0
44 | PAKET 1 D44 | BONGKAR TR - 3 BD ( DUA SALURAN JARINGAN PENEGANG ) |  |  | set |  | 0 | 65248 | 0 | 0 | 0
45 | PAKET 1 D45 | BONGKAR TR - 4 B ( JARINGAN SATU PERCABANGAN ) |  |  | set |  | 0 | 69058 | 0 | 0 | 0
46 | PAKET 1 D46 | BONGKAR TR - 4 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN ) |  |  | set |  | 0 | 138186 | 0 | 0 | 0
47 | PAKET 1 D47 | BONGKAR TR - 5 B ( JARINGAN SATU PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 72796 | 0 | 0 | 0
48 | PAKET 1 D48 | BONGKAR TR - 5 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 145592 | 0 | 0 | 0
49 | PAKET 1 D49 | BONGKAR TR - 6 B ( JARINGAN SATU PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 86128 | 0 | 0 | 0
50 | PAKET 1 D50 | BONGKAR TR - 6 BD ( DUA SALURAN JARINGAN SATU PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 172256 | 0 | 0 | 0
51 | PAKET 1 D51 | BONGKAR TR - 7 B ( JARINGAN DUA PERCABANGAN PADA SMALL ANGEL ) |  |  | set |  | 0 | 122597 | 0 | 0 | 0
52 | PAKET 1 D52 | BONGKAR TR - 7 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA SMALL ANGEL ) |  |  | set |  | 0 | 245193 | 0 | 0 | 0
53 | PAKET 1 D53 | BONGKAR TR - 8 B ( JARINGAN DUA PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 126335 | 0 | 0 | 0
54 | PAKET 1 D54 | BONGKAR TR - 8 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA LARGE ANGLE ) |  |  | set |  | 0 | 252670 | 0 | 0 | 0
55 | PAKET 1 D55 | BONGKAR TR - 9 B ( JARINGAN DUA PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 139667 | 0 | 0 | 0
56 | PAKET 1 D56 | BONGKAR TR - 9 BD ( DUA SALURAN JARINGAN DUA PERCABANGAN PADA TIANG PENEGANG ) |  |  | set |  | 0 | 279334 | 0 | 0 | 0
57 | PAKET 1 D57 | BONGKAR TR - 10 B ( JARINGAN AWAL ) ADJ |  |  | set |  | 0 | 53539 | 0 | 0 | 0
58 | PAKET 1 D58 | BONGKAR TR - 10 BD ( DUA SALURAN JARINGAN AWAL ) ADJ |  |  | set |  | 0 | 107078 | 0 | 0 | 0
59 | PAKET 1 D59 | BONGKAR TR - 10 B (JARINGAN AKHIR ) |  |  | set |  | 0 | 38514 | 0 | 0 | 0
60 | PAKET 1 D60 | BONGKAR TR - 10 BD ( DUA SALURAN JARINGAN AKHIR ) |  |  | set |  | 0 | 77099 | 0 | 0 | 0
61 | PAKET 1 D61 | BONGKAR TR - 11 B (JARINGAN AWAL ) FIXED |  |  | set |  | 0 | 66730 | 0 | 0 | 0
62 | PAKET 1 D62 | BONGKAR TR - 11 BD ( DUA SALURAN JARINGAN AWAL ) FIXED |  |  | set |  | 0 | 133460 | 0 | 0 | 0
63 | PAKET 1 D63 | BONGKAR TR - 12 B (JARINGAN AWAL DUA JURUSAN) FIXED |  |  | set |  | 0 | 133460 | 0 | 0 | 0
64 | PAKET 1 D64 | BONGKAR TR - 12 BD ( DUA JURUSAN DOUBLE SIRKIT JARINGAN AWAL) FIXED |  |  | bh |  | 0 | 266990 | 0 | 0 | 0
65 | PAKET 1 D65 | Pasang tiang baja 9/200 daN & lansir |  |  | bh |  | 0 | 155161 | 0 | 0 | 0
66 | PAKET 1 D66 | Pasang tiang baja 9/350 daN & lansir |  |  | bh |  | 0 | 193844 | 0 | 0 | 0
67 | PAKET 1 D67 | Pondasi Tiang Beton 9/200 daN |  |  | bh |  | 0 | 342955 | 0 | 0 | 0
68 | PAKET 1 D68 | Pondasi Tiang Beton 9/350 daN |  |  | bh |  | 0 | 342955 | 0 | 0 | 0
69 | PAKET 1 D69 | Pentanahan TR |  |  | set |  | 0 | 142973 | 0 | 0 | 0
70 | PAKET 1 D70 | Pemerataan Beban Gardu |  |  | bh |  | 0 | 60922 | 0 | 0 | 0
71 | PAKET 1 D71 | Penggantian titik sambung SR |  |  | bh |  | 0 | 13066 | 0 | 0 | 0
72 | PAKET 1 D72 | Penggantian titik sambung JTR |  |  | bh |  | 0 | 17010 | 0 | 0 | 0
73 | PAKET 1 D73 | Tiang besi 9 Mtr dikerok, meni dan cat 2 kali (tiang sudah berdiri) |  |  | bh |  | 0 | 423046 | 0 | 0 | 0
74 | PAKET 1 D74 | Tiang besi 9 Mtr di meni cat 1 kali (tiang sudah berdiri) |  |  | bh |  | 0 | 214240 | 0 | 0 | 0
75 | PAKET 1 D75 | Tiang besi 9 Mtr dicat 1 kali (tiang sudah berdiri) |  |  | bh |  | 0 | 147355 | 0 | 0 | 0
E | PAKET 1 EE | [6 empty] | 0 | 0 |  | 4
1 | PAKET 1 E1 |  |  |  | ttk |  | 1 | 0 | 0 | 0 | 1
2 | PAKET 1 E2 |  |  |  | ls |  | 1 | 0 | 0 | 0 | 1
3 | PAKET 1 E3 |  |  |  | ls |  | 1 | 0 | 0 | 0 | 1
4 | PAKET 1 E4 |  |  |  | ls |  | 1 | 0 | 0 | 0 | 1
5 | PAKET 1 E5 | Tempat Administrasi & Gudang |  |  | m2 |  | 0 | 365749 | 0 | 0 | 0
6 | PAKET 1 E6 | Biaya penjagaan sehari/ semalam |  |  | hari |  | 0 | 492966 | 0 | 0 | 0
F | PAKET 1 FF | [6 empty] | 0 | 0 |  | 1
1 | PAKET 1 F1 | TIANG BETON BULAT 9m/200 daN (terpasang) + Lansir |  |  | btg | 0 |  | 3112830 | 0 | 0 | 0
2 | PAKET 1 F2 | TIANG BETON BULAT 9m/350 daN (terpasang) + Lansir |  |  | btg | 0 |  | 3656330 | 0 | 0 | 0
3 | PAKET 1 F3 | TIANG BETON BULAT 11m/200 daN (terpasang) + Lansir |  |  | btg | 0 |  | 4227550 | 0 | 0 | 0
4 | PAKET 1 F4 | TIANG BETON BULAT 12m/200 daN (terpasang) + Lansir |  |  | btg | 0 |  | 5315750 | 0 | 0 | 0
5 | PAKET 1 F5 |  |  |  | btg | 1 |  | 0 | 0 | 0 | 1
6 | PAKET 1 F6 | TIANG BETON BULAT 13m/350 daN (terpasang) + Lansir |  |  | btg | 0 |  | 6580120 | 0 | 0 | 0
7 | PAKET 1 F7 | TIANG BETON BULAT 13m/500 daN (terpasang) + Lansir |  |  | btg | 0 |  | 7019760 | 0 | 0 | 0
8 | PAKET 1 F8 | TIANG BETON BULAT 14m/350 daN (terpasang) + Lansir |  |  | btg | 0 |  | 7877970 | 0 | 0 | 0
G | PAKET 1 GG | MATERIAL NON MDU ACCESSORIES JTR (KHS POOL CENTER PLN UP3 BANDUNG) | [5 empty] | 0 |  |  | 0
1 | PAKET 1 G1 | BUNDLE END PROTECTION |  |  | set | 0 |  | 61500 | 0 | 0 | 0
2 | PAKET 1 G2 | DEAD END ASSY ADJ 35MM |  |  | set | 0 |  | 104000 | 0 | 0 | 0
3 | PAKET 1 G3 | DEAD END ASSY ADJ 70MM |  |  | set | 0 |  | 111000 | 0 | 0 | 0
4 | PAKET 1 G4 | DEAD END ASSY FIXED 35MM |  |  | set | 0 |  | 86000 | 0 | 0 | 0
5 | PAKET 1 G5 | DEAD END ASSY FIXED 70MM |  |  | set | 0 |  | 92000 | 0 | 0 | 0
6 | PAKET 1 G6 | LARGE ANGLE ASSY 35MM |  |  | set | 0 |  | 85000 | 0 | 0 | 0
7 | PAKET 1 G7 | LARGE ANGLE ASSY 70MM |  |  | set | 0 |  | 108000 | 0 | 0 | 0
8 | PAKET 1 G8 | SUSPENSION ASSY 35MM |  |  | set | 0 |  | 69000 | 0 | 0 | 0
9 | PAKET 1 G9 | SUSPENSION ASSY 70MM |  |  | set | 0 |  | 70000 | 0 | 0 | 0
H | PAKET 1 HH | MATERIAL KABEL | [8 empty] | 156
1 | PAKET 1 H1 | CONDUCTOR;AAAC-S;150mm2; |  | 3050084 | m | 0 |  | 27240 | 0 | 0 | 0
2 | PAKET 1 H2 | CONDUCTOR;AAAC-S;70mm2; |  | 3050088 | m | 24 |  |  | 0 | 0 | 24
3 | PAKET 1 H3 | CABLE PWR;N2XSY;1X35mm2;20kV;UG |  | 3110010 | m | 0 |  |  | 0 | 0 | 0
4 | PAKET 1 H4 | CABLE PWR;NYY;1X70mm2;0,6/1kV;OH |  | 3110514 | m | 88 |  | 117380 | 10329440 | 0 | 88
5 | PAKET 1 H5 | CABLE PWR;NYY;1X95mm2;0,6/1kV;OH |  | 3110515 | m | 0 |  | 170925 | 0 | 0 | 0
6 | PAKET 1 H6 | CABLE PWR;NYY;1X150mm2;0,6/1kV;OH |  | 3110516 | m | 0 |  | 261340 | 0 | 0 | 0
7 | PAKET 1 H7 |  |  |  | m | 44 |  | 0 | 0 | 0 | 44
8 | PAKET 1 H8 | CABLE PWR;NYFGBY;4X35mm2;0.6/1kV;UG |  | 3110055 | m | 0 |  | 362100 | 0 | 0 | 0
9 | PAKET 1 H9 | CABLE PWR;NYFGBY;4X50mm2;0.6/1kV;UG |  | 3110056 | m | 0 |  | 643500 | 0 | 0 | 0
10 | PAKET 1 H10 | CABLE PWR;NYFGBY;4X70mm2;0.6/1kV;UG |  | 3110057 | m | 0 |  | 771800 | 0 | 0 | 0
11 | PAKET 1 H11 | CABLE PWR;NYFGBY;4X95mm2;0.6/1kV;UG |  | 3110058 | m | 0 |  | 816000 | 0 | 0 | 0
12 | PAKET 1 H12 | CABLE PWR;NYFGBY;4X150mm2;0.6/1kV;UG |  |  | m | 0 |  |  | 0 | 0 | 0
13 | PAKET 1 H13 | CABLE PWR;NYFGBY;4X240mm2;0.6/1kV;UG |  |  | m | 0 |  |  | 0 | 0 | 0
14 | PAKET 1 H14 | CABLE PWR;NFA2X-T;3x70+1x70mm2;0,6/1kV;OH |  | 3110542 | M | 0 |  | 57400 | 0 | 0 | 0
I | PAKET 1 II | MATERIAL KONEKTOR | [8 empty] | 34
1 | PAKET 1 I1 | CABLE PWR ACC;CABLE SHOE CU ID 1H 35mm2 |  |  | bh | 0 |  | 34500 | 0 | 0 | 0
2 | PAKET 1 I2 | CABLE PWR ACC;CABLE SHOE CU ID 1H 50mm2 |  |  | bh | 0 |  | 51500 | 0 | 0 | 0
3 | PAKET 1 I3 |  |  |  | bh | 8 |  | 0 | 0 | 0 | 8
4 | PAKET 1 I4 | CABLE PWR ACC;CABLE SHOE CU ID 1H 95mm2 |  |  | bh | 0 |  | 88000 | 0 | 0 | 0
5 | PAKET 1 I5 | CABLE PWR ACC;CABLE SHOE CU ID 1H 150mm2 |  |  | bh | 0 |  | 145000 | 0 | 0 | 0
6 | PAKET 1 I6 |  |  |  | bh | 8 |  | 0 | 0 | 0 | 8
7 | PAKET 1 I7 | CABLE PWR ACC;CABLE SHOE AL 70mm2 |  |  | bh | 0 |  | 15750 | 0 | 0 | 0
8 | PAKET 1 I8 | CABLE PWR ACC;CABLE SHOE AL 150mm2 |  |  | bh | 0 |  | 26250 | 0 | 0 | 0
9 | PAKET 1 I9 | CABLE PWR ACC;CABLE SHOE AL-CU 1H 70mm2 |  |  | bh | 15 |  |  | 0 | 0 | 15
10 | PAKET 1 I10 | CABLE PWR ACC;CABLE SHOE AL-CU 1H 150mm2 |  |  | bh | 0 |  | 89200 | 0 | 0 | 0
11 | PAKET 1 I11 | COND ACC;JOINT SLEEVE ALCU 70-70mm2 |  |  | bh | 0 |  | 98000 | 0 | 0 | 0
12 | PAKET 1 I12 | COND ACC;JOINT SLEEVE ALCU 70-95mm2 |  |  | bh | 0 |  | 98000 | 0 | 0 | 0
13 | PAKET 1 I13 | COND ACC;NON TENSION JOINT AL 70mm2 |  |  | bh | 0 |  | 45000 | 0 | 0 | 0
14 | PAKET 1 I14 | COND ACC;NON TENSION JOINT AL 150mm2 |  |  | bh | 0 |  | 72385 | 0 | 0 | 0
15 | PAKET 1 I15 | COND ACC;TENSION JOINT AL 150mm2 |  |  | bh | 0 |  | 72500 | 0 | 0 | 0
16 | PAKET 1 I16 |  |  |  | bh | 3 |  | 0 | 0 | 0 | 3
17 | PAKET 1 I17 | CONN;1KV;CCO;AL;50-70/50-70;INSUL;PITA |  |  | bh | 0 |  | 18000 | 0 | 0 | 0
18 | PAKET 1 I18 | CONN;20kV;H;AL;150-150mm2;PRS; |  |  | bh | 0 |  | 27810 |  |  | 0
J | PAKET 1 JJ | [6 empty] | 0 |  |  | 2
1 | PAKET 1 J1 | TRF DIS;D3;20kV/400V;3P;100kVA;YZN5;OD |  |  | unit | 0 |  | 46895760 | 0 | 0 | 0
2 | PAKET 1 J2 | TRF DIS;D3;20kV/400V;3P;160kVA;YZN5;OD |  |  | unit | 0 |  | 69630700 | 0 | 0 | 0
3 | PAKET 1 J3 |  |  |  | unit | 1 |  | 0 | 0 | 0 | 1
4 | PAKET 1 J4 | TRF DIS;D3;20kV/400V;3P;400kVA;DYN5;OD |  |  | unit | 0 |  | 102649820 | 0 | 0 | 0
5 | PAKET 1 J5 |  |  |  | set | 1 |  | 0 | 0 | 0 | 1
6 | PAKET 1 J6 | LVSB;DIST;3P;400V;630A;4LINE;OD |  |  | set | 0 |  |  | 0 | 0 | 0
K | PAKET 1 KK | [6 empty] | 0 |  |  | 6
1 | PAKET 1 K1 | Dead End;24kV;70kN;Polimer SIR |  |  | set | 0 |  | 206110 | 0 | 0 | 0
2 | PAKET 1 K2 |  |  |  | set | 3 |  | 0 | 0 | 0 | 3
3 | PAKET 1 K3 |  |  |  | bh | 3 |  | 0 | 0 | 0 | 3
4 | PAKET 1 K4 | INSULATED SIDE TIES |  |  | bh | 0 |  | 69500 | 0 | 0 | 0
L | PAKET 1 LL | MATERIAL PELINDUNG/PENGONTROL | [5 empty] | 0 |  |  | 9
1 | PAKET 1 L1 |  |  |  | bh | 3 |  | 0 | 0 | 0 | 3
2 | PAKET 1 L2 |  |  |  | bh | 3 |  | 0 | 0 | 0 | 3
3 | PAKET 1 L3 | CUT OUT ACC;FUSE LINK 20kV 3A |  |  | bh | 0 |  | 19900 | 0 | 0 | 0
4 | PAKET 1 L4 | CUT OUT ACC;FUSE LINK 20kV 6A |  |  | bh | 0 |  | 19900 | 0 | 0 | 0
5 | PAKET 1 L5 |  |  |  | bh | 3 |  | 0 | 0 | 0 | 3
6 | PAKET 1 L6 | CUT OUT ACC;FUSE LINK 20kV 10A |  |  | bh | 0 |  | 22480 | 0 | 0 | 0
7 | PAKET 1 L7 | CUT OUT ACC;FUSE LINK 20kV 12A |  |  | bh | 0 |  | 22480 | 0 | 0 | 0
M | PAKET 1 MM | MATERIAL SR APP | [5 empty] | 0 |  |  | 0
1 | PAKET 1 M1 | MTR;KWH E;3P;220/380V;5-80A;1;;4W |  | 2190218 | bh | 0 |  | 1813720 | 0 | 0 | 0
2 | PAKET 1 M2 | MTR;KWH E;3P;57,7-100V/220-400V;5A;0,5;4W |  | 2190438 | bh | 0 |  | 1877220 | 0 | 0 | 0
3 | PAKET 1 M3 | MCB 3 PHASA (10A s.d 35A) |  |  | bh | 0 |  | 171360 | 0 | 0 | 0
4 | PAKET 1 M4 | MCCB 50 A |  | 3250030 | bh | 0 |  | 33930 | 0 | 0 | 0
5 | PAKET 1 M5 | MCCB 63 A |  | 3250032 | bh | 0 |  | 868450 | 0 | 0 | 0
6 | PAKET 1 M6 | OK S PHASA |  |  | bh | 0 |  | 75000 | 0 | 0 | 0
7 | PAKET 1 M7 | BOX PENGUKURAN LANGSUNG DAYA 3,9 - 41,5 KVA |  |  | bh | 0 |  | 2250000 | 0 | 0 | 0
8 | PAKET 1 M8 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 53 kVA |  | 4120102 | set | 0 |  | 9645000 | 0 | 0 | 0
9 | PAKET 1 M9 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 66 kVA |  | 4120103 | set | 0 |  | 9645000 | 0 | 0 | 0
10 | PAKET 1 M10 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 82,5 kVA |  | 4120104 | set | 0 |  | 10270000 | 0 | 0 | 0
11 | PAKET 1 M11 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 105 kVA |  | 4120105 | set | 0 |  | 10270000 | 0 | 0 | 0
12 | PAKET 1 M12 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 131 kVA |  | 4120106 | set | 0 |  | 10500000 | 0 | 0 | 0
13 | PAKET 1 M13 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 147 kVA |  | 4120107 | set | 0 |  | 10500000 | 0 | 0 | 0
14 | PAKET 1 M14 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 164 kVA |  | 4120108 | set | 0 |  | 10525000 | 0 | 0 | 0
15 | PAKET 1 M15 | LEMARI APP TR TERPADU PENGUKURAN TIDAK LANGSUNG 197 kVA |  | 4120109 | set | 0 |  | 11625000 | 0 | 0 | 0
16 | PAKET 1 M16 | MODEM AMR |  |  | set | 0 |  | 920000 | 0 | 0 | 0
17 | PAKET 1 M17 | CABLE PWR;NFA2X-T;4x16mm2;0,6/1kV;OH |  | 3110029 | m | 0 |  | 13718 | 0 | 0 | 0
18 | PAKET 1 M18 | CABLE PWR;NFA2X-T;3x35+1x35mm2;0,6/1kV;OH |  | 3110039 | m | 0 |  | 33155 | 0 | 0 | 0
19 | PAKET 1 M19 | CONN;1kV;PIER;AL 50-70/35-50 mm2/BOLT;WP |  |  | bh | 0 |  | 32500 | 0 | 0 | 0
20 | PAKET 1 M20 | CONN;1kV;PIER;AL 35-50/10-25 mm2/BOLT;WP |  |  | bh | 0 |  | 17250 | 0 | 0 | 0
21 | PAKET 1 M21 | CONN;1kV;PIER;AL 10-25/10-25 mm2/BOLT;WP |  |  | bh | 0 |  | 16200 | 0 | 0 | 0
22 | PAKET 1 M22 | Cable Power Acc;Wedge Clamp 4x16mm |  |  | bh | 0 |  | 4315 | 0 | 0 | 0
23 | PAKET 1 M23 | Cable Power Acc;Strain Hook Ekor Babi 1.5'' |  |  | bh | 0 |  | 6900 | 0 | 0 | 0
24 | PAKET 1 M24 | Segel Plastik Putar |  |  | bh | 0 |  | 2625 | 0 | 0 | 0
25 | PAKET 1 M25 | Fleksibel Conduit ( Untuk Pengeluaran Box APP ) |  |  | m | 0 |  | 128700 | 0 | 0 | 0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
[8 empty] | DIBORONGKAN | 0
Bandung, 24 June 2025
|  | Assistant Manager Perencanaan |  |  |  |  | Team Leader Perencanaan Sistem
#VALUE!
|  | ARHAMUR ALAIKA |  |  |  |  | BUDI SETIAWAN
Note on J369: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J370: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J371: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J372: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J373: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J374: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J375: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J376: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J377: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS POOL CENTER BDG
Note on J386: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SAP PO 3101668196
Note on J389: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: SAP PO 3101668196
Note on J413: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J414: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J415: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J416: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J417: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J418: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J420: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J421: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J425: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J426: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU 2025
Note on J433: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J434: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025
Note on J435: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: KHS MDU TAHUN 2025